# USF

# Research Integrity & Compliance

# Biosafety Level 3 Inspection Form

| PRINCIPAL INVESTIGATOR: | INSPECTION DATE: |
| --- | --- |
| BUILDING/ROOM: |
| INSPECTOR(S): | LAB GUIDE(S): |

| Biosafety Level 3 | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| A. Standard Microbiological Practices |  |  |  |  |
| 1. Institutional policies being enforced that control access to the laboratory. |  |  |  |  |
| 2. Persons wash hands after work w/cultures & removing gloves, before leaving lab. |  |  |  |  |
| 3. Eating, drinking, storing food, etc. prohibited. |  |  |  |  |
| 4. Mouth pipetting prohibited; pipettors used. |  |  |  |  |
| 5a. Sharps policies in place. 5b. Sharps disposed in biohazardous Sharps containers. 5c. Broken glassware is only handled by mechanical means. 5d. Plastic ware is substituted for glassware whenever possible. 5e. Disposable needles are not bent, sheared, broken, recapped, removed from disposable syringes, or otherwise manipulated prior to disposal. 5f. Syringes that “re-sheath” the needle or needleless systems are used when appropriate. |  |  |  |  |
| 6. Splashes & aerosols are minimized. |  |  |  |  |
| 7a. Work surfaces disinfected after completion of work and after any spill, disinfectants effective. 7b. Biohazard spill cleanup kit available. |  |  |  |  |
| 8. Waste decontaminated and disposed in effective manner. A method for decontaminating all laboratory wastes should be available in the facility, preferably within the laboratory suite (e.g., autoclave, chemical disinfection) |  |  |  |  |
| 9. A biohazard sign, PI/Emergency contact information, biosafety level, and required procedures for entering and exiting the laboratory are posted on entry doors to lab. |  |  |  |  |
| 10. An effective integrated pest management program is required. |  |  |  |  |
| 11a. PI ensures personnel receive appropriate training. 11b. Personnel must receive annual updates and additional training when procedural or policy changes occur. 11c. All laboratory personnel and particularly women of child-bearing age should be provided with information regarding immune competence and conditions that may predispose them to infection. 11d. Individuals having these conditions should be encouraged to self-identify to the institution's healthcare provider for appropriate counseling and guidance. |  |  |  |  |

| B. Special Practices: | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| 1. Laboratory staff is advised of potential hazards. |  |  |  |  |
| 2. Laboratory staff is provided medical surveillance and appropriate immunizations if applicable. |  |  |  |  |
| 3. Policy in place regarding baseline serum for at risk personnel, as appropriate. |  |  |  |  |
| 4a. A laboratory-specific biosafety manual must be prepared and adopted as policy. 4b. The biosafety manual must be available and accessible. |  |  |  |  |
| 5. The PI must ensure that laboratory staff demonstrates proficiency in standard and special microbiological practices prior to work with BSL-3 agents. |  |  |  |  |
| 6. Infectious agents must be placed in a durable, leak proof container during collection, handling, storage and transport. |  |  |  |  |
| 7a. Laboratory equipment decontaminated routinely, after spills, before repair, maintenance, or removal from lab. Spills involving infectious materials must be contained, decontaminated, and cleaned up by staff properly trained and equipped to work with infectious material. |  |  |  |  |
| 8a. Incidents that may result in exposure to infectious materials must be immediately evaluated and treated according to polices. 8b. All such incidents must be reported to the laboratory supervisor and biosafety officer. 8c. Medical evaluation, surveillance, and treatment should be provided and appropriate records maintained. |  |  |  |  |
| 9. Animals & plants not involved in work not permitted in lab. |  |  |  |  |
| 10a. Open manipulation w/ agents in BSC and or other containment devices. No work with agents on open bench. 10b. When a procedure cannot be performed within a BSC, a combination of personal protective equipment and other containment devices, such as a centrifuge safety cup or sealed rotor, must be used. |  |  |  |  |
| 11. Equipment and storage areas for use with biohazard are properly labeled. Agents are properly labeled. |  |  |  |  |
| C. Safety Equipment (Primary Barriers) | Yes | No | N/A | Comments |
| 1. All procedures conducted in BioSafety Cabinet (BSC). BSC is certified annually. |  |  |  |  |
| 2a. Protective laboratory clothing with a solid-front such as tie-back or wraparound gowns, scrub suits, or coveralls are worn by workers when in the laboratory 2b. Lab coats/gowns worn & not removed from lab. 2c. Reusable clothing decontaminated before laundering. 2d. Clothing is changed when contaminated 2e. Gloves worn when handling agents, animals or equipment. |  |  |  |  |
| 3a. Eye and Face protection is used for anticipated splashes or sprays of infectious agent. 3b.Eye wear must be disposed when contaminate with other lab waste or decontaminated prior to reuse |  |  |  |  |
| 4a. Gloves worn when handling agent, animals, or equipment. Change gloves frequently, accompanied by handwashing. 4b. Gloves must not be worn outside the laboratory in non-lab areas. 4c. Change gloves when contaminated or integrity compromised. 4d. Do not wash or reuse disposable gloves. 4e. BSL-3 laboratory workers should: Wear two pairs of gloves when appropriate. |  |  |  |  |
| 5. Eye, face and respiratory protection should be used in rooms containing infected animals. |  |  |  |  |
| D. Laboratory Facilities (Secondary Barriers) | Yes | No | N/A | Comments |
| 1a. Laboratory doors must be self closing and have locks in accordance with the institutional policies. 1b. The laboratory must be separated from areas that are open to unrestricted traffic flow within the building. 1c. Access to the laboratory is restricted to entry by a series of two self-closing doors. 1d. A clothing change room (anteroom) may be included in the passageway between the two self-closing doors. |  |  |  |  |
| 2. Each lab room contains hand-free handwashing sink located near exit door. |  |  |  |  |
| 3a. Lab must be designed so that it can be cleaned and decontaminated. 3b. Carpet and rugs not permitted. Surfaces cleanable (walls, floors, ceiling). 3c. Seams & penetrations sealed. 3d. Walls and ceiling sealed smooth finish for easy cleaning and decontamination. 3e. Floor slip resistant. 3f. Spaces around doors and ventilation openings should be capable of being sealed to facilitate space decontamination. |  |  |  |  |
| 4a. Lab furniture is appropriate for loading and use. 4b. Spaces between cabinet, benches and equipment accessible for cleaning. 4c. Benchtops impervious to water and resistant to chemicals. 4d. Chairs used in laboratory covered with a non-porous material. |  |  |  |  |
| 5. All windows in the laboratory must be sealed. |  |  |  |  |
| 6. BSCs located away from doors, heavily traveled areas, etc, to maintain airflow pattern. |  |  |  |  |
| 7a. Vacuum lines protected by HEPA filters or equivalent. 7b. Filters must be replaced as necessary |  |  |  |  |
| 8. Eyewash readily available inside lab. |  |  |  |  |
| 9a. A ducted air ventilation system is required. Negative pressure airflow into laboratory. Under failure conditions the airflow will not be reversed. The laboratory exhaust air must not re-circulate to any other area of the building. The laboratory building exhaust air should be dispersed away from occupied areas or exhaust must be HEPA filter. 9b. Laboratory personnel must be able to verify directional air flow. A visual monitoring device which confirms directional air flow must be provided at the laboratory entry. 9c. Audible alarms should be considered to notify personnel of air flow disruption |  |  |  |  |
| 10a. HEPA filtered exhaust air from a Class II BSC can be safely re-circulated into the laboratory environment if the cabinet is tested and certified at least annually and operated according to manufacturer's recommendations. BSCs can also be connected to the laboratory exhaust system by either a thimble (canopy)connection or a direct (hard) connection. 10b. Provisions to assure proper safety cabinet performance and air system operation must be verified 10c. BSCs should be certified at least annually to assure correct performance. |  |  |  |  |
| 11. A method of decontaminating all laboratory waste should be available preferably within the laboratory. If contaminated waste leave lab, they are sealed & not transported in public corridor. Large pieces of equipment should be decontaminated before removal from the laboratory. |  |  |  |  |
| 12. Aerosol producing equipment (e.g., continuous flow centrifuges) are contained in devices that exhaust through HEPA filters. These HEPA filters should be tested annually. |  |  |  |  |
| 13a. Facility design consideration should be given to means of decontaminating large pieces of equipment before removal from the laboratory. 13 b. Enhanced environmental and personal protection may be required by the agent summary statement, risk assessment, or applicable local, state, or federal regulations. These laboratory enhancements may include, for example, one or more of the following; an anteroom for clean storage of equipment and supplies with dress-in, shower-out capabilities; gas tight dampers to facilitate laboratory isolation; final HEPA filtration of the laboratory exhaust air; laboratory effluent decontamination; and advanced access control devices such as biometrics. HEPA filter housings should have gas-tight isolation dampers; decontamination ports; and/or bag-in/bag-out (With appropriate decontamination procedures) capability. 13c. The HEPA filter housing should allow for leak testing of each filter and assembly. The filters and the housing should be certified at least annually |  |  |  |  |
| 14. BSL3 facility & operational procedures documented. Facility tested for verification prior to operation. Facilities re-verified, at least annually against these procedures. |  |  |  |  |
| 15. Illumination is adequate, avoiding glares and reflections that could impede vision. |  |  |  |  |
| 16. Autoclaving procedures verified. If yes, explain how. |  |  |  |  |
| E. Institutional Biosafety Committee | Yes | No | N/A | Comments |
| 1. IBC review and approval of agent(s). |  |  |  |  |
| 2. Changes/modifications reported to IBC. |  |  |  |  |
| 3. USF Biosafety training for all staff in date. |  |  |  |  |
| 4. If Shipping biohazardous agents, appropriate DOT/IATA training completed and applicable permits in place. |  |  |  |  |

BIOSAFETY CHECKLIST: Reference: CDC BMBL 5th Edition

Deficiencies: For BSL-2, per the BMBL:

Risk Assessment/Recommendations:

Comments:

Date ___________	Signature of Inspector________________________________

Date __________	Reviewed by _______________________	Title ________________